## Instrument
Instrument
ITEM | DESCRIPTION | SIZE (inch) | Class | Type | Range | Body | MEMA enclosue | FM | Temp. code | Lubricant | Motor Rating | Motor Supply | Motor Current | Indication contacts | MANUFACTURE | QTY (NO.)
1 | FLOW METER | 14" | 150 | Magnetic | [10 empty] | KERKAU/ROSEMOUNT | 2
2 | FLOW METER | 6 | 300 | Magnetic | [10 empty] | KERKAU/ROSEMOUNT | 2
3 | PRESSURE TRANSMITTER | 1.5 | 150 |  | 150 | A182/F316 | [8 empty] | ROSEMOUNT | 2
4 | PRESSURE TRANSMITTER | 1.5 | 2500 |  | 440 bar | A182/F316 | [8 empty] | ROSEMOUNT | 10
5 | H2S ANALYZER |  |  |  | 0-10 PPM | [5 empty] | 4-20 MA |  |  |  |  | 2
6 | CALIBRATION KIT |  |  |  | 0.5 LPM | [10 empty] | 2
7 | LEVEL GAUGE |  | 2160 Psi | Stand Pipe |  | 316 SS |  |  | 750 F | [5 empty] | PENBERTHY | 2
8 | LEVEL GAUGE |  | 1480 Psi | Stand Pipe |  | 316 SS |  |  | 750 F | [5 empty] | PENBERTHY | 2
9 | PRESSURE REGULATOR |  |  | 67 CFR-225 | 250 Psi |  |  |  |  | SR=0-60 Psi |  |  |  |  | FISHER | 2
10 | LEVEL CONTROL VALVE | 1 | 900-2250 |  |  | 17-4 PH |  |  |  | OR=0-35 |  |  |  |  | FISHER | 4
11 | LEVEL CONTROL | [13 empty] | FISHER | 2
12 | FACTORY SERALED CONTROL STATION, EX PROOF | [14 empty] | 5
13 | PRESSURE RELIEF VALVE | 1*1 | 1480 Psi | 3231 SCFM Air 60 F | [10 empty] | ANDERSON | 7
14 | 2 VALVE MANIFOLD |  |  |  |  | 316 SS | [9 empty] | 5
15 | 5 VALVE MANIFOLD |  |  |  |  | 316 SS | [9 empty] | 5
16 | ULTRA FILTER |  |  |  | 1-250 PSI | 35-105 F | [8 empty] | DONALDSON | 2
Instrument
ITEM | DESCRIPTION | SIZE (inch) | Class | Type | Range | Body | MEMA enclosue | FM | Temp. code | Lubricant | Motor Rating | Motor Supply | Motor Current | Indication contacts | MANUFACTURE | QTY (NO.)
17 | ULTRA FILTER |  |  |  | 250 Psi | 35-105 F | 0.37 Gal | [7 empty] | DONALDSON | 2
18 | REGULATOR | 1/4 |  |  | 5-20 Psi | SS | [8 empty] | FISHER | 3
19 | REGULATOR | 0.125 |  |  | 140-250 Psi | SS | [8 empty] | FISHER | 2
20 | REGULATOR | 0.375 |  |  | 70-150 | SS | [8 empty] | FISHER | 2
21 | REGULATOR | 3/32 |  |  | 70-150 | SS | [8 empty] | FISHER | 2
22 | LEVEL CONTROL |  |  | Pneumatic | [10 empty] | FISHER | 2
23 | JUNCTION BOX | [13 empty] | ADALET | 2
24 | EXP. ENCLOSURE | [13 empty] | BECKER | 12
25 | TOMP. CONTROLLER | [13 empty] | KIMRAY | 6
26 | PIG POPPER | [13 empty] | ENDURO | 1
27 | LEVEL CONTROL SWITCH |  |  | Magnetic | [10 empty] | PENBERTHY | 12
28 | REGULATOR |  |  | Single & wo Stage | [10 empty] | MECO | 14
29 | PUMP |  |  | In. Air=180 Psi, Max Flow rate=14.2 GPM | [10 empty] | GRACO | 2
30 | THERMOWELL | 1/2 |  |  |  | SS 316 | [9 empty] | 11